Village of Kenosee Lake

BYLAW NO. 2023-10

A BYLAW RESPECTING BUILDINGS

The Council of the Village of Kenosee Lake in the

in the Province of Saskatchewan enacts as follows:

SHORT TITLE

1	(1)	This bylaw may be cited as the Building Bylaw.

PURPOSE OF THE BUILDING BYLAW

2	(1)	The purpose of this building bylaw is to provide for the administration and enforcement of the Act, the regulations, The National Building Code of Canada, The National Energy Code of Canada for Buildings, ministerial interpretations and Saskatchewan Construction Standards Appeal Board orders and building official orders within the local authority.

INTERPRETATION/LEGISLATION

3	(1)	Notwithstanding the definitions prescribed in this section for the purpose of administration and enforcement of this building bylaws, definition contained in The Construction Codes Act, The Building Code Regulations and The Energy Code Regulations shall apply in this building bylaw.

(2)	“Act” means The Construction Codes Act.

(3)	“building official” means a person who holds a building official license and appointed by the local authority to provide building official services.

(4)	“competent person” means a person who is recognized by the local authority as having:

(a)	a degree, certificate or professional designation; or

(b)	the knowledge, experience and training;

necessary to design or review the design of a proposed work.

(5)	“local authority” means the Village of Kenosee Lake and its elected council.

(6)	“NBC” means the edition and provisions of The National Building Code of Canada, including revisions, errata and amendments to it, declared to be in force pursuant to the Act and the regulations.

(7)	“NECB” means the edition and provisions of The National Energy Code of Canada for Buildings, including revisions, errata and amendments to it, declared to be in force pursuant to the Act and The Energy Code Regulations.

(8)	“occupancy certificate” means a certificate issued with respect to the approved use or occupancy of a building.

(9)	“owner” means:

(a)	any person who has any right, title, estate or interest in land, improvements or premises other than that of a mere occupant, tenant or mortgagee;

(b)	any person, firm, or corporation that controls the property under consideration; or

(c)	if the building is owned separately from the land on which the building is located, the owner of the building.

(10)	“owner’s representative” means any person, corporation, employee or contractor who has authority to act on behalf of the owner.

(11)	“permit” means written authorization issued by the local authority or its building official in the form of a building permit.

(12)	“permit fees” means as defined in this building bylaw.

(13)	“plan review” means the examination of building drawings and related documents by a building official to ascertain whether those drawings and documents meet the requirement of the standards of construction.

(14)	“regulations” means The Building Code Regulations and The Energy Code Regulations.

(15)	“SAMA fee” means a fee charged to the local authority by the Saskatchewan Assessment Management Agency with respect to the work.

(16)	“service provider” means the company providing building official services to the local authority.

(17)	“standards of construction” in this building bylaw means the Act, the regulations, The National Building Code of Canada, The National Energy Code of Canada for Buildings, ministerial interpretations pursuant to section 8 of the Act and Saskatchewan Construction Standards Appeal Board orders, interpretations and orders of building officials within the local authority and any related bylaws adopted by the local authority.

(18)	“value of construction” means the total costs to the owner for the work in its completed form and includes the cost of design, all building work, materials of construction, building systems, labour, overhead, and profit of the contractor and subcontractors.

(29)	“work” means any design, construction, addition, erection, placement, alteration, repair, renovation, demolition, relocation, removal, use, occupancy or change of occupancy, or reconstruction of a building.

SCOPE OF THE BYLAW

4	(1)	This building bylaw applies to all work undertaken or to be undertaken within the geographical jurisdiction of the local authority.

(2)	The provisions of this building bylaw apply to buildings greater than 10 m2 (107.6 ft2) in building area except as otherwise exempted by the Act or the regulations.

(3)	Retaining walls attached to a structure or free standing greater than 600 mm (2 ft) in differential grade height.

(4)	An accessory building not greater than 10 m2 (107.6 ft2) is exempt from this building bylaw provided it does not create a hazard and provided it does not have sleeping accommodations.

(5)	Decks under 600 mm (2 ft) in differential grade height on lands for residential use are deemed as patios exempt from this building bylaw.

PERMIT FEE AND PAYMENT

5	(1)	The permit fee for construction, erection, placement, alteration, repair, renovation or reconstruction of a building shall be based on the following fee schedule.

(a) $25 for small projects under $10,000 value, $50 for projects between $10,000 and $100,000 value, $150   for projects between $100,000 and $500,000 value and $250 for projects $500,000 value and greater.

(b) The service fees for plan review, field inspection of construction and enforcement services in accordance with the agreement between the provider of the building official services and the local authority shall be the full responsibility of the applicant.

(c) An additional $25 charge will be applied to each building permit to reflect the cost of the Saskatchewan Assessment Management Agency Fee.

(2)	The owner or the owner’s representative may be invoiced by the local authority for additional fees as described in the service provider agreement as determined by the local authority or service provider.

(3)	The deposit may be refunded, on request by the owner or the owner’s representative, if the local authority or building official deem the work satisfactorily complete.

(4)	The local authority may, at its discretion, rebate a portion of a permit fee or additional fees where work is reduced in scope or discontinued, or where other exceptional circumstances occur.

(5)	The local authority may double the permit fee if work commences prior to obtaining a permit.

(6)	For a demolition or removal permit, the applicant shall provide a refundable deposit in the amount of $1000.00 to the local authority to cover the cost of restoring the site after the building. The local authority shall hold the refundable deposit until, in the opinion of the local authority or the building official, the conditions are not dangerous to public safety.

(7)	The building official may establish the value of construction for the work described in the application for a permit, for the purpose of determining the permit fee or additional fees, based on established current construction costs, the owner’s or the owner’s representative statement of costs or constructor’s contract values, or similar methods selected by the building official.

(8)	The permit fee and additional fees are the amounts due and are a debt due to the local authority and may be recovered from the owner of the land or premises in or on which the work or service was carried out.

(9)	If amounts due are not paid within 30 days of the date the local authority notifies the owner or owner’s representative of the amount due, the local authority may add the amount due to the owner’s property taxes, as per the Act.

(10)	Where the local authority refuses to issue or revokes a permit, the local authority shall refund any fee or deposits paid as part of the application for the permit, less administration and service fees.

GENERAL DUTIES OF THE OWNER

6	(1)	The duties of the owner or the owner’s representative as applicable, includes but not limited to:

(a)	ensuring that the building and work is in accordance with the standards of construction;

(b)	not commencing or cause to be commenced work without first having obtained a valid permit from the local authority;

(c)	complying with the terms and conditions of the permit;

(d)	complying with the terms and conditions of the plan review;

(e)	ensuring all notifications required by this building bylaw are given to the local authority;

(f)	ensuring all inspections are scheduled and completed by the building official;

(g)	not enclosing prior to inspection, the work that requires inspection by a building official;

(h)	paying all cost associated with showing compliance with the construction code;

(i)	not occupying the building or part of the building before the issuance of an occupancy certificate by the local authority or the building official pursuant to clause 16(11)(h) of the Act;

(j)	obtaining prior written approval from the local authority before closing or blocking any road, street, lane, or sidewalk;

(k)	suppling and maintaining, at their own expense, all warning signs, barricades, fences or other services that may be required to warn the public and protect the public from the work;

(l)	fill and level any excavation on the property with clean non-expansive fill, to an elevation compatible with abutting properties; and

(m)	ensuring that the property is left in a safe and sanitary condition, including removing all rubbish and building materials to an approved location. For greater clarity, this includes not burying on the site any waste material, including concrete from demolition of a basement or foundation, or below ground level substructures or framework.

(n)	arranging for all permits, inspections and certifications required by any other applicable bylaws, Acts and the regulations, and ensuring all copies of any inspection or review reports conducted by others are made available to the building official or local authority;

PERMITS – GENERAL CONDITONS

7	(1)	Permits shall be subject to any geotechnical requirements stated by the local authority.

(2)	Permits will be required for retaining walls attached to a structure or free standing that is greater than 600 mm (2 ft) in differential grade height.  An architect or engineer will be required to design such structures.

(3)	The granting of any permit by this building bylaw shall not:

(a)	entitle the grantee, his successor or assigns, or anyone on his behalf to erect any building that fails to comply with the requirements of any Act, the regulations or bylaw affecting the site described in the permit; or

(b)	make either the local authority or the building official liable for damages or losses in the event that a building does not comply with the requirements of any Act, the regulations or bylaw regardless of whether or not occupancy has been authorized by a permit.

(4)	Approval in writing from the local authority or building official is required for any deviation, omission or revision to the work.

PERMITS - APPLICATION AND ISSUANCE

8	(1)	Every application for a permit for work shall be in Form A, the Development Permit application and Form B and shall be accompanied by a minimum of one set of plans and specifications in electronic format (PDF) of the proposed building.

(2)	The owner or owner’s representative consents to the use of email for communications.

(3)	Whenever the proposed work requires the technical expertise of an architect or engineer, the local authority or building official may require that all drawings and specifications, or any part thereof, be prepared or reviewed, sealed, dated and signed by an architect or engineer.

(4)	Every application for a permit to demolish or remove a building shall be in Form C. Where a building is to be demolished or removed, and the local authority is satisfied that there are no debts or taxes in arrears or taxes outstanding with respect to the building or land on which the building is situated the local authority, upon receipt of the fee and deposit prescribed, shall issue a permit for the demolition in Form D.

(5)	The application for a permit shall be reviewed and approved by the building official. The building official will return an approved plan review, showing all required inspections by the building official.

(6)	The local authority shall issue a permit if:

(a)	All permit fees, deposits and any applicable taxes have been paid; and

(b)	If the work described in the application for a permit, to the best of the knowledge of the local authority or building official, complies with the requirements of the standards of construction.

PERMITS - REFUSAL TO ISSUE AND REVOCATION

9	(1)	The local authority may refuse to issue a permit if:

(a)	the proposed work would contravene the standards of construction;

(b)	the person who designed or reviewed the design of the proposed works that is within the scope of Part 9 of the NBC is not a competent person;

(c)	the person who designed or completed a design review of the proposed works that is within the scope of the NECB is not an engineer or architect;

(d)	the application for a permit is incomplete;

(e)	any fee, or deposit required by the local authority are not paid; or

(f)	the proposed work would contravene any other Act, the regulations or bylaws that applied to the proposed work.

(2)	The local authority may revoke a permit if:

(a)	the holder of the permit requests in writing that it be revoked and the work has not commenced;

(b)	there is contravention of any condition under which the permit was issued;

(c)	the permit was issued on mistake, false or incorrect information; or

(d)	the permit was issued in error; or

(3)	Where the local authority refuses to issue or revokes a permit, the local authority shall provide written notice to the applicant or permit holder as to the reasons for the refusal or revocation.

PERMITS - EXPIRY

10	(1)	All permits shall expire on the date stated in the permit, or if no date is stated, the earliest of the following:

(a)	24 months from the date of issue;

(b)	6 months from date of issue if work is not commenced within that period;

(c)	6 months from date of last inspection by a building official where work has not seriously progressed to the satisfaction of the building official and without prior authorization from the local authority;

(2)	All permits issued for demolition, removal expire 6 months from the date of issue.

(3)	If the owner wishes to terminate the work, the owner or the owner’s representative must first receive written approval for the local authority to terminate the permit.

(4)	If the permit expires, but not all of the work is complete, the owner or the owner’s representative shall apply to the local authority in writing requesting:

(a)	to extend the term of the permit. The local authority may extend the permit to a maximum of 24 months; or

(b)	vary the conditions of the permit.

(5)	The expiration of a permit does not relieve the owner or owner’s representative from the obligation to put the building in safe condition or demolish the building.

PERMITS – ENFORCEMENT

11	(1)	The local authority or building official may take any measures as permitted in the Act or the regulations for the purpose of ensuring compliance with the standards of construction.

(2)	Failure to obtain a permit or follow the terms of the permit, including ensuring that all inspections are scheduled and completed by the building official, may result in the issuance of a building official’s order, in accordance with section 25 of the Act.

(3)	The building official may direct the local authority to register an interest in the lands through Land Titles Registry if a building official’s order was not adhered to, in accordance with section 20 of the Act.

NOTIFICATION

12	(1)	Before commencing work, the owner or owner’s representative shall give notice to the local authority, in writing, of:

(a)	the contractor or other person in charge of the work;

(b)	the designer of the work;

(c)	the person or firm reviewing the work to determine whether or not the work conforms to the design;

(d)	any inspection or testing agency that is engaged to monitor the work;

(e)	the date the work is intended to commence;

(f)	when the excavation is to be commence;

(2)	The owner or owner’s representative must call for all inspections set out by the building official in the plan review.

(3)	Failure to provide notice and ensure that all inspections are scheduled and completed by the building official could result in destructive testing efforts requested by the building official at the cost of the owner or the owner’s representative.

(4)	During the course of the work, the owner or owner’s representative shall give notice to the local authority in writing of any:

(a)	change in, or termination of, the employment of a person or firm listed in subsection (1);

(b)	intent to do any work requiring inspections by the building official;

(c)	intent to enclose any work requiring inspection by a building official;

(d)	proposed or undertaken deviations from the plans approved and permitted by the local authority;

(e)	the completion of the work;

(f)	change in ownership, or change in address of the owner or the owner’s representative that occurs before the completion as soon as the change occurs; and

(g)	intention to occupy the building or portions of the building prior to the issuance of occupancy.

(5)	A real property report of the site prepared by a registered land surveyor shall be submitted by the owner or owner’s representative for principal buildings and dwellings required by the local authority. Failure to do so may result in the issuance of a stop work order with additional fees.

Notice of a Failure

13	(1)	The owner, owner’s representative or owner’s agents, contractors, employees or successors or the registered owner of the land on which the building is situated shall submit a written report to the local authority of the occurrence of the following that causes or has the potential to cause serious injury or loss of life:

(a)	structural failure of the building or part of the building;

(b)	failure of any equipment, device or appliance that is regulated by the Act or the regulations.

(2)	The report must be submitted to the local authority within 15 days after the occurrence of the failure. The report must contain:

(a)	the name and address of the owner;

(b)	the address or location of the building involved in the failure;

(c)	the name and address of the constructor of the building; and

(d)	the nature of the failure.

(3)	On receipt of the report, the local authority may require an owner or owner’s representative to:

(a)	provide other information that the building official or local authority may consider necessary;

(b)	complete any additional work that is necessary to ensure immediate compliance.

ENFORCEMENT OF STANDARDS OF CONSTRUCTION

14	(1)	The local authority or the building official may take any measures as permitted by section 24, 25 or 26 of the Act and sections 13 and 14 of the regulations for the purposes of ensuring compliance with this building bylaw.

(2)	If any work to a building or part thereof or addition thereto is in contravention of any provision of the standards of construction, the local authority may take any measures as permitted by the Act for the purpose of ensuring compliance, including, but not limited to:

(a)	entering a building;

(b)	ordering production of documents, tests, certificates, etc. relating to a building;

(c)	taking material samples;

(d)	ordering actions to be completed within a prescribed time;

(e)	eliminating unsafe conditions;

(f)	completing actions, upon an owner's non-compliance with an order, and adding the expenses incurred to the tax payable on the property; and

(g)	obtaining restraining orders.

(3)	If any building or part thereof or addition thereto is in an unsafe condition due to faulty work, dilapidated state, abandonment, open or unguarded condition or any other reason, the local authority may take any measures allowed by the Act.

BUILDING DESIGN REQUIREMENTS

15	(1)	The owner or owner’s representative that undertakes to or has constructed a building that is within the scope of Parts 3, 5, 6 and 7 of the NBC shall have an architect or engineer:

(a)	complete the design or design review and inspection of the building and all buildings systems;

(b)	provide a Commitment of Field Review letter as part of the permit application for work; and

(c)	provide an Assurance of Field Review and Completion letter, on completion of the work, providing assurance that the work conforms to the architect’s or engineer’s design and the standards of construction.

(2)	The owner or owner’s representative that undertakes to or has constructed a building with a structure that is within the scope of Part 4 of the NBC shall have an architect or engineer:

(a)	complete the design or design review of the structure;

(b)	complete an inspection of construction of the structure to ensure compliance with the design;

(c)	complete the reviews required by the NBC;

(d)	provide a Commitment of Field Review letter as part of the permit application for work; and

(e)	provide an Assurance of Field Review and Completion letter, on completion of the work, providing assurance that the work conforms to the architect’s or engineer’s design and the standards of construction.

(3)	Foundations for residential occupancies including modular homes with A277 certification shall be designed pursuant to subsection (2).

(4)	The owner or owner’s representative that undertakes to or has constructed a building that is within the scope of Part 9 of the NBC shall have a competent person:

(a)	complete the design or review of designs of the building;

(5)	The owner or owner’s representative that undertakes to or has constructed a building with a structure that is within the scope of the NECB shall have an architect or engineer:

(a)	complete the design or design review of the structure;

(b)	complete an inspection of construction of the structure to ensure compliance with the design;

(c)	complete the reviews required by the NECB;

(d)	provide a Commitment of Field Review letter as part of the permit application for work; and

(e)	provide an Assurance of Field Review and Completion letter, on completion of the work, providing assurance that the work conforms to the architect’s or engineer’s design and the standards of construction.

(6)	On the request of the local authority or building official, the owner or owner’s representative shall ensure copies of any inspections or review reports made pursuant to this section are made available to the local authority or building official.

(7)	No owner or owner’s representative shall cause or allow the ground elevations of a building to be changed so as to place in contravention of the NBC. This includes the building or part of the building, or an adjacent building.

(8)	If the property boundaries of a building lot are changed so as to place a building or part of a building in contravention of the NBC, the regulations or bylaws, the owner or owner’s representative shall immediately alter the building or part of the building to bring it into compliance with the NBC.

PENALTY

16	(1)	Any person who contravenes any of the provisions of this building bylaw may be subject to the penalties provided in Part 8 of the Act.

(2)	Conviction of a person or corporation for breach of any provision of this building bylaw shall not relieve the person or corporation from compliance the standards of construction.

REPEAL OF PREVIOUS BUILDING BYLAW

17	(1)	On enactment of this building bylaw, Bylaw No. 1-2011 is hereby repealed.

MAYOR

(seal)

Chief Administrative Officer

Certified a true copy of bylaw number

adopted by resolution on the

day of 	 , 20

VILLAGE OF KENOSEE LAKE

BYLAW NO. 2023-10

A Bylaw Respecting Buildings

BUILDING PERMIT APPLICATION

DATE: ______________________________

APPLICANT: ____________________________________________________________________________

CIVIC ADDRESS: ________________________________________________________________________

LOT ________________, BLOCK __________________, PLAN __________________________________

MAILING ADDRESS: ____________________________________________________________________

PHONE NUMBER: _______________________________________________________________________

CONTRACTOR: _________________________________________________________________________

PHONE NUMBER: _______________________________________________________________________

PROPOSED DEVELOPMENT: _____________________________________________________________

_________________________________________________________________________________________

_________________________________________________________________________________________

_________________________________________________________________________________________

(attach Site Plan and Supporting Documents)

APPLICANT’S SIGNATURE: _____________________________________________________________

BUILDING PERMIT APPROVED: _________________________________________________________

Date

APPROVED BY RESOLUTION NO. ________________________________________________________

SUBJECT TO THE FOLLOWING CONDITIONS: ____________________________________________

_________________________________________________________________________________________

BUILDING PERMIT REFUSED: ____________________________________________________________                       		                                                    Date

REASON: ________________________________________________________________________________

FORM A

VILLAGE OF KENOSEE LAKE

BYLAW NO. 2023-10

A Bylaw Respecting Buildings

BUILDING PERMIT NUMBER: _______________

CIVIC ADDRESS: ____________________________________________________________________________

LOT __________________, BLOCK ___________________, PLAN ____________________________________

OWNER: __________________________________________ PH: ______________________________________

CONTRACTOR: ____________________________________PH: ______________________________________

INTENDED USE: _____________________________________________________________________________

ESTIMATED VALUE: ______________________                   			     FEE: _____________

_______ I have submitted a site plan indicating the location of all property lines, all existing and proposed buildings, the distances between all property lines and the closest wall of the nearest building, the location of all existing and proposed roads and a north arrow to establish orientation of the site plan.

_________ I hereby agree to comply with the Building Bylaw of the municipality and acknowledge that it is my responsibility to ensure compliance with the municipal zoning bylaw, provincial legislation, and the National Building Code of Canada regardless of any review of drawings or inspections that may or may not be carried out by an inspector.

_________It is expressly understood that the municipality requires building inspections to be called for at various stages of construction, as outlined in the building bylaw, and that it is my responsibility to contact the municipal building inspector to ensure that building inspections are carried out at the required intervals.  Failure to notify the municipal building inspector at the required intervals of construction may result in additional fees, the issuance of a stop work order, and/or other action outlined in the municipal building bylaw.

________ I understand that this permit expires six months from the date of issue if work is not commenced within that period, or two years from the date on which the permit was issued, and any deviation, omission or revision to the approved application requires approval of Council, or its authorized representative.

________ I understand that additional inspection fees may be charged for extra inspections, non-scheduled inspections and re-inspections.

___________________        _____________________________    ________________________

Date                                                 Owner (print)                                                     Owner Signature

_______________________          ____________________________________     _____________________________

Approval Date                                 Authorized Representative                                   Signature

FORM B

VILLAGE OF KENOSEE LAKE

BYLAW NO. 2023-10

A Bylaw Respecting Buildings

Application for a permit to move or demolish a building

I hereby make application for a permit to demolish a building now situation on:

Civic Address or location ______________________________________________________________

Lot ___________________, Block _________________, Plan ________________

The demolition will commence on _________________________, and will be completed on ________________________.

OR

I hereby make application for a permit to move a building now situation on:

Civic Address or location ______________________________________________________________

Lot ___________________, Block _________________, Plan ________________

To Civic Address or location ______________________________________________________________

Lot ___________________, Block _________________, Plan ________________

OR

Out of the Municipality

The building has the following dimensions: length ___________ width _____________ height ____________

The building mover will be __________________________________________________________________

And the date of the move will be  __________________________

The building will be moved over the following route: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

The site work ( filling, final grading, landscaping, etc.) which will be done after removal of the building includes: ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

I hereby agree to comply with the provisions of the Building Bylaw of the municipality and to become responsible and pay for any damage done to any property as a result of the demolition or moving of the said building, and to deposit such sum as may be required of the said bylaw. I acknowledge that it is my responsibility to ensure compliance with any other applicable bylaws, Acts and regulations, and to obtain all required permits and approvals prior to demolishing or moving the building.

____________________________

Signature of Owner

FORM C

VILLAGE OF KENOSEE LAKE

BYLAW NO. 2023-10

A Bylaw Respecting Buildings

Permit to Move or Demolish a Building

__________________________

Date

Permission is hereby granted to ___________________________ to

Move

Or

Demolish

A building now situation on

Civic Address or location ______________________________________________________________

Lot ___________________, Block _________________, Plan ________________

To Civic Address or location ______________________________________________________________

Lot ___________________, Block _________________, Plan ________________

In accordance with application dated ______________________. This permit expires six months from the date of issue.

This permit is issued under the following conditions:

____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

____________________________________

Authorized Municipal Official

FORM D